2004/019 ERECTION OF ONE 10 METRE HIGH WIND TURBINE WITHIN FENCED COMPOUND AT LAND ADJOINING SWINSHAW COTTAGES, LOVECLOUGH.

APPLICANT: MR C J AINSWORTH

DATE FOR DETERMINATION: 5TH MARCH 2004

Human Rights

The relevant provisions of the Human Rights Act 1998 and the European Convention on Human Rights have been taken into account in the preparation of this report, particularly the implications arising from the following rights: -

Article 8

The right to respect for private and family life, home and correspondence.

Article 1 of Protocol 1

The right of peaceful enjoyment of possessions and protection of property.

Site and Proposal

The application site is to the north of 1 to 4 Swinshaw Cottages, beyond a number of smaller buildings.  There are two means of access to the turbine, one which runs from Goodshaw Lane behind the rear of the properties and one along the front of the Cottages.  The aspect of the cottages is from east to west.  The land falls within the Countryside in the Rossendale District Local Plan.  There are a number of footpaths in the area however none of them are sited in close proximity to the application site.

The proposed development would include a 9 metre high tapered, cylindrical mast with three blades with a rotor diameter of 5.5 metres.  The turbine will be sited on a concrete base which will extend the height of the turbine to a maximum of 10 metres.  The turbine will be The wind turbine would have a maximum power output of 6kW.  The turbine would be connected by an underground cable to the two properties in numbers 2 and 3 Swinshaw Cottages.

Notification Responses

Neighbour notification letters were sent and 3 letters of objection have been received.  The issues raised in these letters relate to:-

- Visual ‘blight’ on the local landscape and from Swinshaw Cottages

- Visual impact from Rossendale Way

- Noise disturbance

- De-valuing of properties

- Invasion of privacy through interest in the turbine

- Impact on highway safety from ‘curious’ onlookers

Consultation

County Planning

“The Environment Director considers the proposed development to be in conformity with the adopted Lancashire Structure Plan 1991-2006, the Deposit draft of the Replacement Joint Lancashire Structure Plan 2000-2016 and the proposed changes to the Deposit draft of the Replacement Joint Lancashire Structure Plan 2001-2016.”

The following response was received in response to a request for clarification on the land designation of the application site:

“The site is located in the Settled Valley landscape character type.

I was aware when making my initial response that the site was not in the Preferred Area of Search. Policy 25 does not however restrict development outside of the preferred areas of search provided that there is no net loss in the value of the areas and features designated for their landscape interest and natural and man-made heritage. My original comments therefore remain.”

RBC Environmental Health

“To protect local amenity:

No development shall take place until the applicant has submitted full details of the proposed position of the wind turbine, together with full details of predicted sound levels arising from the turbine at the façade of the nearest noise sensitive dwelling.

Any such report should include calculations of sound pressure levels and L90 (levels of noise exceeded for 90% of measurement time over a minimum of 10 minutes) that arise from the turbine and of their likely impact at the nearest noise sensitive dwelling.

The turbine should be sited at a minimum distance to achieve a predicted L90 of 35dB(A) at the façade of nearest noise sensitive dwelling based upon measured sound levels at the base of the turbine and based upon the distance between the turbine and the house. This is to achieve no increased levels to background noise resulting from the development. Any such report and remedial measures including minimum distance shall be agreed in writing prior to development commencing.

(The applicant should refer to the data provided by the manufacturers regarding sound levels and the document The Assessment and Rating of Noise from Wind farms. ETSU-R- 97 a document produced for the Department of Trade and Industry DTI.) “

Development Plan Policies

Policy DS1 (Urban Boundary)

The policy states that “the Council will seek to locate most new development within a defined boundary – the urban boundary – and will resist development beyond it unless it complies with policies DS3 and DS5”

Policy DS5 (Development Outside the Urban Boundary and Green Belt)

The policy states that outside the urban boundary development will be restricted to that needed for agriculture, forestry etc and other uses appropriate to a rural area or the rehabilitation and re-use of existing buildings.

Policy C1 (Countryside Areas)

The policy states that “to enhance rural landscapes known as countryside areas, with major programmes of tree planting and landscape management, with priority being given to locations adjoining the urban fringes,  Any development will be required to be in scale and keeping with the character of the landscape and of a standard of design appropriate to the area”

Policy DC1 (Development Criteria)

The policy states that all applications for planning permission will be considered on the basis of a) location and nature of proposed development, b) size and intensity of proposed development; c) relationship to existing services and community facilities, d)relationship to road and public transport network, e) likely scale and type of traffic generation, f) pollution, g) impact upon trees and other natural features, h)arrangements for servicing and access, i) car parking provision  j) sun lighting, and day lighting and privacy provided k) density layout and relationship between buildings and l) visual appearance and relation to surroundings ,m) landscaping and open space provision, n) watercourses and o) impact upon man-made or other features of local importance..

Policy DC9 (Wind Farms)

The policy states that “the Council will support proposals for wind farms and individual generators provided:-

- There is no unacceptable adverse effect on important long distance views;

- The effect on the landscape, including in particular the visual impact of proposals on ridge top and summit locations, is minimised by careful design and siting;

- The settings of buildings of architectural or historic importance and scheduled monuments are protected;

- In the case of a location designated an area of special landscape, moorland area, important wildlife site, local nature reserve or site of special scientific interest, an over-riding need has been demonstrated and no suitable alternative is available”.

Policy E12 (Noise Attenuation)

The policy states that “the Council will not permit any development proposals which would lead to unacceptable levels of noise to nearby noise sensitive areas”

Lancashire Structure Plan 1991-2006:

Policy 1 (Development in Rural Areas)

The policy states that “C) developments in the open countryside outside green belts will be limited to:

- that needed for the purposes of agriculture, forestry or other uses appropriate to a rural area, including ones which will help diversify the rural economy while being in keeping with the rural environment;

- the rehabilitation and reuse of buildings subject to this not having adverse effects on the rural economy;

- the re-use or redevelopment of major developed sites

Policy 54 (Wind Energy)

The policy states that “wind turbines will be permitted outside settlements and other areas of significant development.  The location of wind turbines will be assessed against:

- The provisions of policy 19; and

- The impact on the character of the landscape, in particular the visual impact of proposals on ridge top and summit locations; and

- The impact on the local environment; and

- Any electromagnetic disturbance which may be caused by the development to existing transmitting or receiving systems and the measures proposed to be taken to remedy or mitigate any such disturbance; and

- The cumulative effects of the proposed and existing or committed wind turbine development.  In the following areas, proposal for wind farms will be permitted only in exceptional circumstances when alternative suitable sites are unavailable elsewhere:

- Adjacent to the Yorkshire Dales National Park; and

- Within or adjacent to areas of outstanding natural beauty;

- Within or adjacent to sites of special scientific interests; and

- Within or adjacent to national and local nature reserves; and

- Within or adjacent to conservation areas or where the development would affect the settings of listed buildings or archaeological remains of national importance.”

Joint Lancashire Structure Plan 2001-2016 (Deposit Edition & Proposed Changes to Deposit Edition)

Policy 25 (Wind Energy) (Proposed Changes Edition)

The policy states that “within the preferred areas shown on Map 19, proposals for wind turbines, wind farms and related development will be supported in principle provided that that they do not have a significant impact on the value of areas and features designated for their landscape interest and on the natural and man-made heritage.

Outside the preferred areas shown on Map 19 proposals for wind turbines, wind farms and related development will only be supported provided that there is no net loss in the value of areas and features designated for their landscape interest and natural or man made heritage.  The development of offshore wind farms and related development will be supported in principle”

The reasons and explanations section of the policy states that “the preferred areas of search have annual average wind speeds of 6.5 metres/second.

Other Material Planning Considerations

PPG 22 (Renewable Energy) February 1993

Paragraph 5 states that “a main advantage of using renewable energy is its contribution to limiting emissions of greenhouse gases (the gases which cause global warming).  The main greenhouse gas in carbon dioxide (CO2) produced principally from the burning of fossil fuels.  At present power generation accounts for around one third of CO2 emissions.  Some renewable energy sources (eg. Solar, wind and tidal power) produce no CO2 or other gaseous emissions at all.”

The annex gives advice relating to the technology of harnessing wind energy in the context of development control.

Paragraph 3 states that “the principle of harnessing wind energy by windmills is well established, but modern wind turbines have some distinctive features which must be taken into account in planning and development control.  These are:

- the need to site the machines in open exposed locations often in rural areas which may also be attractive landscapes;

- the nature of noise emissions from the turbines;

- the movement of the blades; and

- considerations relating to safety and electromagnetic interference”

Paragraph 32 states that “the minimum desirable distance between wind turbines and occupied buildings calculated on the basis of expected noise levels and visual impact will always be greater than that necessary to meet safety requirements”.

Paragraph 55 states that “the general public may be concerned that a wind farm will interfere with television reception.  Experience has shown that when this occurs it is of a predictable nature and can generally be alleviated by the installation or modification of a local repeater station or some cable connection”

Paragraph 59 states that “local planning authorities must always weigh the desirability of exploiting a clean, renewable energy resource against the visual impact on the landscape of wind farms”.

Paragraph 62 states that “the visual impact of wind turbine generators is influenced by five principal factors:

- land form and characteristics

- number and size of machines

- design and colour

- layout of machines

- the existing skyline of the area.”

PPG 24 (Planning and Noise) September 1994

Paragraph 12 states that “local planning authorities should consider carefully in each case whether proposals for new noise-sensitive development would be incompatible with existing activities.  Such development should not normally be permitted in areas which are – or are expected to become – subject to unacceptably high levels of noise”

The glossary section of the guidance states that “decibels measured on a sound level meter incorporating a frequency weighting (A weighting) which differentiates between sounds of different frequency (pitch) in a similar way to the human ear.  Measurements in dB(A) broadly agree with people’s assessment of loudness.  A change of 3 dB(A) is the minimum perceptible under normal conditions, and a change of 10 dB(A) corresponds roughly to halving or doubling the loudness of a sound.  The background noise level in a living room may be about 30 dB(A), normal conversation about 60dB(A) at 1 metre, heavy road traffic about 80 dB(A) at 10 metres; the level near a pneumatic drill about 100 dB(A).”

Consultation Paper Draft New Planning Policy Statement 22 (PPS 22): Renewable Energy (November 2003)

The guidance states as follows “it is also the Government's view that the broad planning policy framework provided by PPG22 remains appropriate.  However, it has concluded that a considerable amount of the material in PPG22, particularly in its annexes, is out of date and/or inappropriate for a shorter, focused statement of national planning policies”

Paragraph 6 of the introduction (Part 1) states “there is a clearer focus on assisting the UK to meet national and international targets for the reduction of emissions of greenhouse gases, including the goal to cut the UK's carbon dioxide emissions by some 60% by 2050, with real progress by 2020.”

Paragraph 1 (iv) of the guidance states “the wider environmental and economic benefits of all proposals for renewable energy projects, whatever their scale, are material considerations that should be given significant weight in determining whether proposals should be granted planning permission.”

Paragraph 16 of the guidance states “of all renewable technologies, wind turbines are likely to have the greatest visual impact. However, in assessing planning applications, local authorities should recognise that the impact of turbines on the landscape will vary according to the size and number of turbines and the type of landscape involved”

Issues

About 70% of the electricity supply in the UK is generated by fossil fuel power stations (ie coal, oil and natural gas) with around 25% being generated from nuclear energy.  The principal environmental impact from the burning of fossil fuels is the build up of `greenhouse’ gases.  Of these gases, carbon dioxide is by far the most significant in terms of its effects on the earth’s surface since it traps the sun’s heat in the atmosphere and causes a warming effect.  This leads to global warming and subsequent climate change, which in turn is starting to have far reaching effects on all aspects of the world’s environment, economy, society and health.  The Government has therefore recognised a need to move away from fossil fuels and obtain sustainable supplies of energy from renewable sources such as wind, water and from the sun.

This application, albeit on a very small scale, will generate sustainable supplies of energy which will be used for domestic purposes by number 2 and 3 Swinshaw Cottages.

Whilst it is recognised that there is a need to move towards more renewable sources of energy this does not mean that environmental benefits (eg. reduction in green house gases) automatically outweigh any other material planning considerations.  Guidance advises that wind associated developments should be sensitively and appropriately sited and should not have a significant adverse impact on the local environment.  Government policy in the form of PPG 22 states (Paragraph 59) “local planning authorities must always weigh the desirability of exploiting a clean, renewable energy resource against the visual impact on the landscape of wind farms”.

It is generally recognised that wind turbines are an appropriate form of development in the countryside as long as environmental harm is not significant.  With regards to the visual impact of the proposed turbine, having regard to policy DC.9 of the Rossendale District Local Plan the proposed siting is not on a ridge top or summit location, will not affect the setting of any buildings of architectural or historic importance or any landscape or wildlife designation.  The views from within the Cottages will not be affected as they are from east to west and the turbine would be directly north of the end gable of number 4.  The turbine would however be visible from the access lane in front of the properties and from Goodshaw Lane.  Views, particularly from Goodshaw Lane, would however be obscured by existing vegetation and trees.  In terms of long distance views, the land slopes upwards to the east and there is little development along this ridge.  There are however a number of footpaths from which the turbine will be visible.  The turbine will also be visible from the western side of the valley. However the impact of the 10 metre high structure from this distance would be marginal.

At the strategic level regard should be had to the Proposed Changes Draft Joint Lancashire Structure Plan (PCDJLSP).  Policy 25 of this includes specific areas (Map 19) as preferred areas of search for new wind farms.  The application site falls outside the area of search.  The policy does not restrict development outside of the preferred areas provided that there is no net loss in value of areas and features designated for their landscape interest and natural or man made heritage.  The proposed siting of the turbine falls within the ‘Settled Valley’ landscape character type and this proposal will not be detrimental to any of the key environmental features of this designation.

The impact of the proposed development from a noise point of view on neighbouring properties and the area generally is a material planning consideration.   A letter has been sent to the applicant detailing the need to undertake a noise assessment.  The assessment will be carried out in accordance with the requirements set out by Environmental Health.  Subject to the findings of the assessment falling within the acceptable limits and being approved by the Borough Environmental Health Officer the issue of noise will be satisfactorily covered.  The results of the noise assessment will be reported at committee.   In the absence of receipt of such an assessment or indeed the support of the Council’s Environmental Health  Department I would have no other option in such circumstances to recommend refusal.

This proposal will result in the production of a renewable energy source, albeit on a small scale, which will contribute to the objective of achieving 10% of the UK’s electricity requirement from renewable sources by 2010.  This factor is important however the impact of the proposal on the physical environment also needs to be given consideration along with any noise implications.  The application is outside the preferred areas for wind development as defined in policy 25 however notwithstanding this fact the turbine will not be overly intrusive visually and will not be detrimental to any historic or landscape features.  Subject to the noise assessment being approved by Environmental Health the turbine will not be detrimental to existing conditions in the area.

Recommendation

That subject to receipt of a satisfactory noise assessment planning permission is approved for the following reasons:

Summary of Reasons for Conditional Approval to appear on Decision Notice

Wind turbines are considered to be appropriate development in countryside areas in accordance with policies DS.5 and C.1 of the Rossendale District Local Plan and Policy 1 of the adopted Lancashire Structure Plan.  Although the turbine will be visible from some vantage points it is not considered that the proposal will have an unacceptable adverse effect and it will not affect any buildings of any historic importance or any designated wildlife site in accordance with policy DC.9 of the Rossendale District Local Plan and Policy 54 of the adopted Lancashire Structure Plan and Policy 25 of the Proposed Changes deposit Joint Lancashire Structure Plan.  Subject to the approval of the noise assessment the proposal will not lead to unacceptable levels of noise in accordance with policy E.12 of the Rossendale District Local Plan.

Conditions

01 The development permitted shall be begun before the expiration of five years from the date of this permission.

Reason: The condition is required by virtue of Section 91 of the Town and Country Planning Act 1990.

02 No development shall commence until details of the design, material and colour of the wind turbine including the concrete base have been submitted to and approved in writing by the Local Planning Authority.  The development shall thereafter be carried out in accordance with approved details.

Reason:  To ensure a satisfactory appearance to the development in accordance with policy DC.1 of the Rossendale District Local Plan.

03 No development shall commence until details of the design, colour and materials of the compound fence have been submitted to and approved in writing by the Local Planning Authority.  The development shall thereafter be carried out in accordance with approved details.

Reason:  To ensure a satisfactory appearance to the development in accordance with policy DC.1 of the Rossendale District Local Plan.

Background Documents

Rossendale District Local Plan (Adopted April 1995)

Lancashire Structure Plan 1991-2006

Deposit and proposed changes deposit Joint Lancashire Structure Plan 2001-2016

PPG22: Renewable Energy

PPS22: Renewable Energy

PPG24: Planning and Noise

Local Plan Policies

DS.1

DS.5

C.1

DC.1

DC.9

E.12

Structure Plan Policies (Adopted/Emerging)

Adopted

Policy 1

Policy 54

Emerging

Policy 25